## Slide 1: MQTT (Message Queuing Telemetry Transport )
Presented by,
Kyle J Cooper

## Slide 2
What is MQTT?
MQTT is a messaging protocol designed for connections in remote locations that require limited bandwidth.
(Sensors, Light switches, monitoring software.)
Telemetry: “the process of recording and transmitting the readings of an instrument.”
MQTT was designed in 1999 by Andy Standford-Clark of IBM and Arlen Nipper of Cirrus Link, but wasn’t made an ISO standard until 2013.
(ISO/ICE PRE 20922)

## Slide 3
How it works?
MQTT uses a publisher/subscriber messaging model. Where one device acts as a broker who broadcasts to all subscribers anything that is published to the broker.
Often described to work in a similar way to broadcast Television.

## Slide 4
MQTT Protocol
The MQTT control packet, has three parts to it.
Fixed Header
Variable Header
Payload

## Slide 5
Fixed Header
bit | 7 | 6 | 5 | 4 | 3 | 2 | 1 | 0
byte 1 | Message Type |  |  |  | DUP flag | QoS level |  | RETAIN
byte 2 | Remaining Length |  |  |  |  |  |  | 
QoS value | bit 2 | bit 1 | Description |  | 
0 | 0 | 0 | At most once | Fire and Forget | <=1
1 | 0 | 1 | At least once | Acknowledged delivery | >=1
2 | 1 | 0 | Exactly once | Assured delivery | =1
3 | 1 | 1 | Reserved |  | 

## Slide 6
Variable Header
This contains information about the message type being send and is different depending on what type of message is being send.
Example: “ CONNECT” messages have a will flag that allows clients to create a “last will and testament”, which will be sent if the client becomes unreachable.

## Slide 7
Payload
The payload contains the user message and is encoded as UTF-8 strings.
Note: CONNECT, SUBSRIBE, and SUBACK are the only message types that have a payload.

## Slide 8
Questions?